**SAMPLE**

**URGENT**

**LAB CHECKLIST**

**IQC SAMPLES UPT**

SAMPLE TRADITIONAL

SAMPLE TRADITIONAL

**SAMPLE**

**REPEAT**

**ANALYTICAL BALANCE PG-603S**

Max Load Capacity = **610g** Last Update:

Min. weight:

Sensitivity Check (Monthly) = 10g (Tolerance NMT 0.005g);

200g (Tolerance NMT 0.1g)

Repeatability (every 3 months) = 20g (Tolerance NMT 0.1%)

**ANALYTICAL BALANCE XP 205 DR**

Max Load Capacity = **220g** Last Update:

Min. weight:

Sensitivity Check (Monthly) = 500mg (Tolerance NMT 0.25mg);

200g (Tolerance NMT 0.1g)

Repeatability (every 3 months) = 10g (Tolerance NMT 0.1%)

**ANALYTICAL BALANCE MSA 225S-100-DA**

Max Load Capacity = **220g**  Last Update:

Min. weight:

Sensitivity Check (Monthly) = 100mg (Tolerance NMT 0.05mg);

200g (Tolerance NMT 0.1g)

Repeatability (every 3 months) = 10g (Tolerance NMT 0.1%)

**ANALYTICAL BALANCE MSE 225S-100-DU**

Max Load Capacity = **220g**  Last Update:

Min. weight:

Sensitivity Check (Monthly) = 100mg (Tolerance NMT 0.05mg);

200g (Tolerance NMT 0.1g)

Repeatability (every 3 months) = 10g (Tolerance NMT 0.1%)

**NOTIS**

SEBELUM MENJALANKAN UJIAN

SILA PERIKSA;

1. TARIKH
2. MASA
3. MIN. WEIGHT

**NOTIS**

SEBELUM MENJALANKAN UJIAN

|  |
| --- |
| **NOTIS**  SEBELUM MENJALANKAN UJIAN  SILA PERIKSA;   1. TARIKH 2. MASA 3. MIN. WEIGHT |

SILA PERIKSA;

1. TARIKH
2. MASA
3. MIN. WEIGHT

**NOTIS**

SEBELUM MENJALANKAN UJIAN

SILA PERIKSA;

1. TARIKH
2. MASA
3. MIN. WEIGHT

**JAN / MEI / SEPT**

**FEB / JUN / OKT**

**APRIL / OGOS / DIS**

**MAC / JULAI / NOV**

**APRIL / OGOS / DIS**

**MAC / JULAI / NOV**

**FEB / JUN / OKT**

**JAN / MEI / SEPT**

**SAMPEL UNTUK**

**KECAI & TIMBANG**

**SPL IQC**

**TRADITIONAL**

**STANDARD**

**REAGENT**

**SAMPEL YG BELUM DIUJI**

**SAMPEL YG BELUM DIUJI**

**SAMPEL UNTUK**

**TIMBANG**

**T4 (006-004867)**

**T3 (006-004866)**

**T1 (006-004864)**

**T2 (006-004865)**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL UNTUK**

**KECAI**

**DROPPER**

**VOLUMETRIC FLASK**

**DROPPER**

**GERHADT PARTS**

**VOLUMETRIC FLASK**

**APPARATUS**

**LAB COAT**

**RADAS KACA**

**GLOVES**

**FILTER PAPER**

**MASKS**

**TRACE METAL DIGESTOR**

**-GERHADT SMA201**

**TRACE METAL DIGESTOR**

**-GERHADT SMA201**

**DISINTEGRATOR – VARIAN**

**VK100**

**VK2**

**006-004851**

**DISINTEGRATOR – VARIAN**

**VK100**

**VK1**

**006-004239**

CHECKLIST SEMAKAN SURAT / MEMO

CAWANGAN : SEKSYEN PENGUJIAN PRODUK DAN KOSMETIK, PKKK

|  |  |  |  |
| --- | --- | --- | --- |
|  | PERANAN | INITIAL / TARIKH | ULASAN / KOMEN |
| 1. | **Disediakan oleh** |  |  |
| Tarikh sedia |  |
| Tarikh selesai |  |
| 2. | **Semakan KS** |  |  |
| Tarikh semak |  |
| Tarikh selesai |  |
| 3. | **Semakan TP** |  |  |
| Tarikh semak |  |
| Tarikh selesai |  |
| 4. | **Semakan P** |  |  |
| Tarikh semak |  |
| Tarikh selesai |  |

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**

**SAMPEL SUDAH DILULUH**