## FormTitan
Header
Fail Analisis | 011024
Internal Quality Control (IQC) ID: | IQC POW 250924
Reagent Blank (RB) ID: | RB POW 250924
Arsenic (As)
RB (ppb): | 0.017
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 56.969
Cadmium(Cd)
RB (ppb): | 0.027
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 20.287
Mercury (Hg)
RB (ppb): | 0.567
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 19.594
Plumbum(Pb)
RB (ppb): | 0.623
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 246.355
Nama dan Tarikh
Nama | IQBAL NORDIYANA MAISARAH
Tarikh | 01/10/2024

## FormGH
Header
Fail Analisis | 121124(1)
Internal Quality Control (IQC) ID: | IQC OINT 051124
Reagent Blank (RB) ID: | RB GH A 051124
Arsenic (As)
RB (ppb): | 0.053
Sample weight IQC A | 1.505
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 53.562
Cadmium(Cd)
RB (ppb): | 0.028
Sample weight IQC A | 1.505
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 10.373
Mercury (Hg)
RB (ppb): | 0.241
Sample weight IQC A | 1.505
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 6.134
Plumbum(Pb)
RB (ppb): | 0.662
Sample weight IQC A | 1.505
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 677.537
Nama dan Tarikh
Nama | IQBAL NORDIYANA
Tarikh | 12/11/2024

## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 011024
Internal Quality Control (IQC) ID: |  |  | IQC POW 250924
Reagent Blank (RB) ID: |  |  | RB POW 250924
ARSENIC |  |  |  |  | RB (ppb): | 0.017 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 56.969 | 4304.051 | 4247.082 | 85.28% | Within Warning Limit □ |  | 3.606%
Within Control Limit □
IQC Sample B | 0.501 | 56.969 | 4460.033 | 4403.064 | 88.24% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.027 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0.502 | 20.287 | 288.21 | 267.923 | 89.66% | Within Warning Limit □ |  | 0.9373%
Within Control Limit □
IQC Sample B | 0.501 | 20.287 | 290.733 | 270.446 | 90.33% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.567 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0.502 | 19.594 | 472.305 | 452.711 | 90.9% | Within Warning Limit □ |  | 3.934%
Within Control Limit □
IQC Sample B | 0.501 | 19.594 | 490.472 | 470.878 | 94.36% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.623 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 246.355 | 9880.531 | 9634.176 | 96.73% | Within Warning Limit □ |  | 3.094%
Within Control Limit □
IQC Sample B | 0.501 | 246.355 | 10183.322 | 9936.967 | 99.57% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA MAISARAH |  |  | 01/10/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 121124(1)
Internal Quality Control (IQC) ID: |  |  | IQC OINT 051124
Reagent Blank (RB) ID: |  |  | RB GH A 051124
ARSENIC |  |  |  |  | RB (ppb): | 0.053 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 1.505 | 53.562 | 4927.517 | 4873.955 | 97.8% | Within Warning Limit □ |  | 0.9627%
Within Control Limit □
IQC Sample B | 1.505 | 53.562 | 4880.822 | 4827.26 | 96.87% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.028 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 1.505 | 10.373 | 290.32 | 279.947 | 93.63% | Within Warning Limit □ |  | 6.042%
Within Control Limit □
IQC Sample B | 1.505 | 10.373 | 273.902 | 263.529 | 88.14% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.241 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 1.505 | 6.134 | 485.284 | 479.15 | 96.15% | Within Warning Limit □ |  | 3.332%
Within Control Limit □
IQC Sample B | 1.505 | 6.134 | 469.58 | 463.446 | 93% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.662 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 1.505 | 677.537 | 10366.543 | 9689.006 | 97.21% | Within Warning Limit □ |  | 4.034%
Within Control Limit □
IQC Sample B | 1.505 | 677.537 | 9983.441 | 9305.904 | 93.37% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA |  |  | 12/11/2024
Tandatangan Penyemak & tarikh