## FormTitan
Header
Fail Analisis | 301024
Internal Quality Control (IQC) ID: | IQC POW 231024
Reagent Blank (RB) ID: | RB POW 231024
Arsenic (As)
RB (ppb): | 0.092
Sample weight IQC A | 0.501
Sample weight IQC B | 0.506
Blank Conc. (ppb) | 58.005
Cadmium(Cd)
RB (ppb): | 0.023
Sample weight IQC A | 0.501
Sample weight IQC B | 0.506
Blank Conc. (ppb) | 23.351
Mercury (Hg)
RB (ppb): | 0.110
Sample weight IQC A | 0.501
Sample weight IQC B | 0.506
Blank Conc. (ppb) | 16.071
Plumbum(Pb)
RB (ppb): | 0.969
Sample weight IQC A | 0.501
Sample weight IQC B | 0.506
Blank Conc. (ppb) | 270.694
Nama dan Tarikh
Nama | IQBAL NORDIYANA
Tarikh | 30/10/2024

## FormGH
Header
Fail Analisis | 011024
Internal Quality Control (IQC) ID: | IQC PIL 250924
Reagent Blank (RB) ID: | RB GH A 250924
Arsenic (As)
RB (ppb): | 0.011
Sample weight IQC A | 1.506
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 75.783
Cadmium(Cd)
RB (ppb): | 0.011
Sample weight IQC A | 1.506
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 60.373
Mercury (Hg)
RB (ppb): | 0.014
Sample weight IQC A | 1.506
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 5.558
Plumbum(Pb)
RB (ppb): | 0.498
Sample weight IQC A | 1.506
Sample weight IQC B | 1.505
Blank Conc. (ppb) | 147.912
Nama dan Tarikh
Nama | IQBAL NORDIYANA MAISARAH
Tarikh | 01/10/2024

## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 301024
Internal Quality Control (IQC) ID: |  |  | IQC POW 231024
Reagent Blank (RB) ID: |  |  | RB POW 231024
ARSENIC |  |  |  |  | RB (ppb): | 0.092 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.501 | 58.005 | 4602.719 | 4544.714 | 91.08% | Within Warning Limit □ |  | 5.803%
Within Control Limit □
IQC Sample B | 0.506 | 58.005 | 4874.308 | 4816.303 | 97.48% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.023 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0.501 | 23.351 | 289.736 | 266.385 | 88.97% | Within Warning Limit □ |  | 0.02402%
Within Control Limit □
IQC Sample B | 0.506 | 23.351 | 289.8 | 266.449 | 89.88% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.110 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0.501 | 16.071 | 476.621 | 460.55 | 92.29% | Within Warning Limit □ |  | 1.332%
Within Control Limit □
IQC Sample B | 0.506 | 16.071 | 482.797 | 466.726 | 94.47% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.969 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0.501 | 270.694 | 10992.963 | 10722.269 | 107.4% | Within Warning Limit □ |  | 0.6722%
Within Control Limit □
IQC Sample B | 0.506 | 270.694 | 10921.125 | 10650.431 | 107.8% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA |  |  | 30/10/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 011024
Internal Quality Control (IQC) ID: |  |  | IQC PIL 250924
Reagent Blank (RB) ID: |  |  | RB GH A 250924
ARSENIC |  |  |  |  | RB (ppb): | 0.011 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 1.506 | 75.783 | 4395.116 | 4319.333 | 86.73% | Within Warning Limit □ |  | 0.4076%
Within Control Limit □
IQC Sample B | 1.505 | 75.783 | 4412.758 | 4336.975 | 87.03% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.011 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 1.506 | 60.373 | 327.756 | 267.383 | 89.48% | Within Warning Limit □ |  | 2.133%
Within Control Limit □
IQC Sample B | 1.505 | 60.373 | 333.521 | 273.148 | 91.35% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.014 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 1.506 | 5.558 | 444.603 | 439.045 | 88.16% | Within Warning Limit □ |  | 3.326%
Within Control Limit □
IQC Sample B | 1.505 | 5.558 | 459.452 | 453.894 | 91.08% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.498 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 1.506 | 147.912 | 9552.905 | 9404.993 | 94.43% | Within Warning Limit □ |  | 1.36%
Within Control Limit □
IQC Sample B | 1.505 | 147.912 | 9681.664 | 9533.752 | 95.66% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA MAISARAH |  |  | 01/10/2024
Tandatangan Penyemak & tarikh