## FormTitan
Header
Fail Analisis | 040924
Internal Quality Control (IQC) ID: | IQC POW 270824
Reagent Blank (RB) ID: | RB POW 270824
Arsenic (As)
RB (ppb): | 0.003
Sample weight IQC A | 0.504
Sample weight IQC B | 0.504
Blank Conc. (ppb) | 51.320
Cadmium(Cd)
RB (ppb): | 0.021
Sample weight IQC A | 0.504
Sample weight IQC B | 0.504
Blank Conc. (ppb) | 18.233
Mercury (Hg)
RB (ppb): | 0.068
Sample weight IQC A | 0.504
Sample weight IQC B | 0.504
Blank Conc. (ppb) | 10.573
Plumbum(Pb)
RB (ppb): | 0.789
Sample weight IQC A | 0.504
Sample weight IQC B | 0.504
Blank Conc. (ppb) | 185.864
Nama dan Tarikh
Nama | IQBAL NORDIYANA
Tarikh | 04/09/2024

## FormGH
Header
Fail Analisis | 180924
Internal Quality Control (IQC) ID: | IQC PIL 120924
Reagent Blank (RB) ID: | RB GH A 120924
Arsenic (As)
RB (ppb): | 0.026
Sample weight IQC A | 1.506
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 86.515
Cadmium(Cd)
RB (ppb): | 0.000
Sample weight IQC A | 1.506
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 62.411
Mercury (Hg)
RB (ppb): | 0.533
Sample weight IQC A | 1.506
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 11.401
Plumbum(Pb)
RB (ppb): | 0.467
Sample weight IQC A | 1.506
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 230.653
Nama dan Tarikh
Nama | IQBAL NORDIYANA
Tarikh | 18/09/2024

## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 040924
Internal Quality Control (IQC) ID: |  |  | IQC POW 270824
Reagent Blank (RB) ID: |  |  | RB POW 270824
ARSENIC |  |  |  |  | RB (ppb): | 0.003 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.504 | 51.320 | 4325.395 | 4274.075 | 86.17% | Within Warning Limit □ |  | 4.43%
Within Control Limit □
IQC Sample B | 0.504 | 51.320 | 4519.036 | 4467.716 | 90.07% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.021 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0.504 | 18.233 | 284.123 | 265.89 | 89.34% | Within Warning Limit □ |  | 2.114%
Within Control Limit □
IQC Sample B | 0.504 | 18.233 | 289.804 | 271.571 | 91.25% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.068 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0.504 | 10.573 | 454.346 | 443.773 | 89.46% | Within Warning Limit □ |  | 2.758%
Within Control Limit □
IQC Sample B | 0.504 | 10.573 | 466.755 | 456.182 | 91.97% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.068 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0.504 |  | 9457.396 | #VALUE! | #VALUE! | Within Warning Limit □ |  | #VALUE!
Within Control Limit □
IQC Sample B | 0.504 |  | 9541.873 | #VALUE! | #VALUE! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA |  |  | 04/09/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 180924
Internal Quality Control (IQC) ID: |  |  | IQC PIL 120924
Reagent Blank (RB) ID: |  |  | RB GH A 120924
ARSENIC |  |  |  |  | RB (ppb): | 0.026 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 1.506 | 86.515 | 5322.027 | 5235.512 | 105.1% | Within Warning Limit □ |  | 0.6552%
Within Control Limit □
IQC Sample B | 1.506 | 86.515 | 5287.834 | 5201.319 | 104.4% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.000 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 1.506 | 62.411 | 363.282 | 300.871 | 100.7% | Within Warning Limit □ |  | 1.665%
Within Control Limit □
IQC Sample B | 1.506 | 62.411 | 368.334 | 305.923 | 102.4% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.533 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 1.506 | 11.401 | 473.425 | 462.024 | 92.77% | Within Warning Limit □ |  | 1.789%
Within Control Limit □
IQC Sample B | 1.506 | 11.401 | 481.765 | 470.364 | 94.45% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.467 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 1.506 | 230.653 | 10210.626 | 9979.973 | 100.2% | Within Warning Limit □ |  | 1.263%
Within Control Limit □
IQC Sample B | 1.506 | 230.653 | 10085.352 | 9854.699 | 98.94% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA |  |  | 18/09/2024
Tandatangan Penyemak & tarikh