## FormTitan
Header
Fail Analisis | 151024(1)
Internal Quality Control (IQC) ID: | IQC POW 141024
Reagent Blank (RB) ID: | RB POW 141024
Arsenic (As)
RB (ppb): | 0.033
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 38.082
Cadmium(Cd)
RB (ppb): | 0.009
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 12.240
Mercury (Hg)
RB (ppb): | 0.553
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 18.382
Plumbum(Pb)
RB (ppb): | 0.986
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 164.073
Nama dan Tarikh
Nama | IQBAL NORDIYANA NASOHA
Tarikh | 15/10/2024

## FormGH
Header
Fail Analisis | 151024(1)
Internal Quality Control (IQC) ID: | IQC POW 141024
Reagent Blank (RB) ID: | RB POW 141024
Arsenic (As)
RB (ppb): | 0.033
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 38.082
Cadmium(Cd)
RB (ppb): | 0.009
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 12.240
Mercury (Hg)
RB (ppb): | 0.553
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 18.382
Plumbum(Pb)
RB (ppb): | 0.986
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 164.073
Nama dan Tarikh
Nama | IQBAL NORDIYANA NASOHA
Tarikh | 01/10/2024

## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 151024(1)
Internal Quality Control (IQC) ID: |  |  | IQC POW 141024
Reagent Blank (RB) ID: |  |  | RB POW 141024
ARSENIC |  |  |  |  | RB (ppb): | 0.033 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 38.082 | 4648.322 | 4610.24 | 92.57% | Within Warning Limit □ |  | 0.7503%
Within Control Limit □
IQC Sample B | 0.501 | 38.082 | 4613.861 | 4575.779 | 91.7% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.009 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0.502 | 12.240 | 311.71 | 299.47 | 100.2% | Within Warning Limit □ |  | 1.121%
Within Control Limit □
IQC Sample B | 0.501 | 12.240 | 315.087 | 302.847 | 101.2% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.553 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0.502 | 18.382 | 487.375 | 468.993 | 94.17% | Within Warning Limit □ |  | 2.314%
Within Control Limit □
IQC Sample B | 0.501 | 18.382 | 498.356 | 479.974 | 96.19% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.986 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 164.073 | 10491.776 | 10327.703 | 103.7% | Within Warning Limit □ |  | 0.8125%
Within Control Limit □
IQC Sample B | 0.501 | 164.073 | 10576.026 | 10411.953 | 104.3% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA NASOHA |  |  | 15/10/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 151024(1)
Internal Quality Control (IQC) ID: |  |  | IQC POW 141024
Reagent Blank (RB) ID: |  |  | RB POW 141024
ARSENIC |  |  |  |  | RB (ppb): | 0.033 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 38.082 | 4395.116 | 4357.034 | 29.16% | Within Warning Limit □ |  | 0.4041%
Within Control Limit □
IQC Sample B | 0.501 | 38.082 | 4412.758 | 4374.676 | 29.22% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.009 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 1.506 | 60.373 | 327.756 | 267.383 | 89.48% | Within Warning Limit □ |  | 2.133%
Within Control Limit □
IQC Sample B | 1.505 | 60.373 | 333.521 | 273.148 | 91.35% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.553 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 1.506 | 5.558 | 444.603 | 439.045 | 88.16% | Within Warning Limit □ |  | 3.326%
Within Control Limit □
IQC Sample B | 1.505 | 5.558 | 459.452 | 453.894 | 91.08% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.986 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 1.506 | 147.912 | 9552.905 | 9404.993 | 94.43% | Within Warning Limit □ |  | 1.36%
Within Control Limit □
IQC Sample B | 1.505 | 147.912 | 9681.664 | 9533.752 | 95.66% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA NASOHA |  |  | 01/10/2024
Tandatangan Penyemak & tarikh