## Micropipette
No/ | Brand/model | Nominal Volume (µL) | ID/ SN | Verification date | Verification due | Calibration due | Location
1 | SARTORIUS PICUS ( UPM 01 ) | 10 | 15019063 | 2023-07-03 | 2023-10-03 | 2024-10-09 | LAB UPM
2 | SARTORIUS PICUS ( UPM 02) | 120 | 15008874 | 2024-05-10 | 2024-08-10 | 2024-10-09 | LAB UPM
4 | SARTORIUS PICUS ( UPM04) | 1000 | 13015995 | 2024-09-04 | 2024-12-04 | 2024-10-09 | LAB UPM
5 | SARTORIUS PICUS ( UPM 05 ) | 5000 | 16000930 | 2024-03-18 | 2024-06-18 | 2024-10-09 | LAB UPM
7 | SARTORIUS PICUS ( UPM 07 ) | 300 | 13017628 | 2023-12-06 | 2024-03-06 | 2025-05-07 | LAB UPM
9 | SARTORIUS PICUS ( UPM 09 ) | 5000 | 13006236 | 2023-12-06 | 2024-03-06 | 2025-05-07 | LAB UPM
10 | SARTORIUS PICUS ( UPM 10) | 300 | 42484156 | 2024-04-30 | 2024-07-30 | 2025-02-07 | LAB UPM
11 | SARTORIUS PICUS ( UPM 11 ) | 1000 | 42388488 | 2024-08-01 | 2024-11-01 | 2025-02-07 | LAB UPM
12 | SARTORIUS PICUS ( UPM 12) | 120 | 44282344 | 2024-09-26 | 2024-12-26 | 2023-07-06 | KABINET C
13 | SARTORIUS PICUS ( UPM 13) | 300 | 43881395 |  | 1900-03-30 | 2023-07-11 | KABINET C
14 | SARTORIUS PICUS ( UPM 14) | 1000 | 43880035 | 2024-08-12 | 2024-11-12 | 2023-07-24 | KABINET C
15 | SARTORIUS PICUS ( UPM 15) | 5000 | 43880606 | 2024-09-17 | 2024-12-17 | 2023-06-30 | KABINET C
16 | SARTORIUS PICUS ( UPM 16) | 10 | 44185780 | 2024-09-19 | 2024-12-19 | 2023-07-03 | KABINET C
17 | SARTORIUS PICUS ( UPM 17) | 300 | 44185827 |  | 1900-03-30 | 2023-07-04 | IN BOX (KABINET C - ARAS 3 )
18 | SARTORIUS PICUS ( UPM 18) | 120 | 44282228 |  | 1900-03-30 | 2023-07-04 | IN BOX ( KABINET C - ARAS 2 )
19 | SARTORIUS PICUS ( UPM 19) | 5000 | 44282256 |  | 1900-03-30 | 2023-07-06 | IN BOX ( KABINET C - ARAS 2 )
20 | SARTORIUS PICUS ( UPM 20) | 1000 | 43881418 |  | 1900-03-30 | 2023-07-12 | IN BOX ( KABINET C - ARAS 2 )
21 | SARTORIUS PICUS ( UPM 21) | 10 | 43790814 |  | 1900-03-30 | 2023-07-21 | IN BOX ( KABINET C - ARAS 2 )
Formulas:
Verification due = EDATE([Verification date],3)

## Thermometer
No/ | Brand/model | SN | Verification date | Verification due | Calibration due | Location
1 | Traceable Digital Probe/ Lollipop Thermometer | 181248755 |  | 1900-06-30 | 2025-03-07 | REFERENCE THERMOMETER Locker besi berkunci/
2 | Traceable Thermohygrometer | 181415316 |  | 1900-06-30 | 2025-03-07 | REFERENCE THERMOMETER Locker besi berkunci/
3 | Fisher Scientific/Digital Thermohygrometer with Probe (Immerse in Glycol) | 181438164 |  | 1900-06-30 | 2026-04-02 | REFERENCE THERMOMETER Locker besi berkunci/
4 | Fisher Scientific Digital Probe/ Lollipop Thermometer | 181248258 | 2024-03-05 | 2024-09-05 | 2025-03-07 | Untuk kegunaan verifikasi
5 | Fisher Scientific Digital Probe/ Lollipop Thermometer | 111668831 | 2024-09-05 | 2025-03-05 | 2026-09-04 | Untuk kegunaan verifikasi
6 | Traceable Thermohygrometer | 111592531 | 2024-04-15 | 2024-10-15 | 2024-10-11 | Bilik Penimbang - Verifikasi
7 | Fisher Scientific/Digital Thermometer with Sensor | 111624208 | 2024-09-09 | 2025-03-09 | 2026-09-08
8 | Traceable Big Digit See Thru Thermometer | 111646458 |  | 1900-06-30 | 2024-10-11 | Rak reagent - Dipinjam UPTSK
9 | Fisher Scientific/ Digital Thermohygrometer with External Sensor | 192297824 |  | 1900-06-30 | 2025-06-08 | Locker besi - untuk QTOF
10 | Fisher Scientific/ Digital Thermohygrometer with External Sensor | 192370352 |  | 1900-06-30 | 2025-07-13 | Lab bench solvent - sementara kerana UPTSK meminjam 111646458
Formulas:
Verification due = EDATE([Verification date],6)