## Sartorius TOP PAN
Must be done every 3 months |  |  |  |  | Must be done every month
Methodology Development Unit |  |  |  |  | Methodology Development Unit
REPEATABILITY TEST |  |  |  |  | SENSITIVITY CHECK |  |  |  |  | JANGAN PRINT PAGE INI
| Name of Analytical Balance : |  | Sartorius MCA3203S-2S00-R (006-000453) |  | Accuracy Test |  |  |  |  | Standard Weight Info:
| Maximum Load Capacity (g) : |  | 3200 |  | Balance: | Sartorius MCA3203S-2S00-R (006-000453) |  |  |  | MB 2kg | Conventional Value: |  | 2000.004 | g
[5 empty] | Max. Load Capacity (g): | 3200 |  |  |  | Class: |  | F2
| Calibration Range (g) : |  | 1.2 - 3200 |  | Standard Weight (g): | 100 | 1000 |  | 2000 | Asset No.: |  | 006-004828 (KKM/BPFK/H/11/62)
[5 empty] | Class: |  |  |  |  | Calibration date: |  | 2022-11-29
| Desired smallest net weight (g) : |  | 1.2 |  | Asset No.: |  |  |  |  | Calibration due date: |  | 2023-11-29
[5 empty] | Calibration date: |  |  |  |  | Certificate No: |  | SST/SA/R/2022K/1834
| Standard/Test Weight (g) : |  | 100 |  | Calibration due date:
[5 empty] | Certificate No: |  |  |  |  | MB 100g | Conventional Value: |  | 100.0003 | g
| Class of Standard Weight: | [8 empty] | Class: |  | F2
[5 empty] | Test Load (g) (maximum load capacity) | Conventional Value (g) | Display Value (g) | Deviation (g) | Tolerance (g), ≤ 0.05% | Asset No.: |  | 006-004828 (KKM/BPFK/H/11/62)
|  | Asset No. of Standard Weight: |  |  | 3000 |  |  | 0 | 1.5 | Calibration date: |  | 2022-11-29
[10 empty] | Calibration due date: |  | 2023-11-29
|  | Readability of weighing balance (d): | 0.001 |  | Test Load (g) (frequent capacity used) | Conventional Value (g) | Display Value (g) | Deviation (g) | Tolerance (g), ≤ 0.05% | Certificate No: |  | SST/SA/R/2022K/1834
[5 empty] | 100 |  |  | 0 | 0.05
[10 empty] | UPM 100g | Conventional Value: |  | 100 | g
| Standard Weight Calib. Date: |  |  |  | Assessment Against Accuracy Requirement |  |  |  |  | Class: |  | E2
[5 empty] | Accuracy testing meets the requirement of 0.05% |  |  | PASS |  | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| Standard Weight Calib. Due Date: | [8 empty] | Calibration date: |  | 2022-11-22
[5 empty] | Carbon Slip |  | Analyst: |  | Date: | Calibration due date: |  | 2023-11-22
| Certificate No: | [8 empty] | Certificate No: |  | SST/SA/R/2022K/1431
[10 empty] | UPR 100g | Conventional Value: |  | 100 | g
| No. | Conventional Value (g) | Display Value (g) | Carbon Slip | [5 empty] | Class: |  | E2
| 1 | [5 empty] | First Checker: |  | Date: | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
| 2 | [8 empty] | Calibration date: |  | 2022-05-28
| 3 | [8 empty] | Calibration due date: |  | 2023-05-28
| 4 | [8 empty] | Certificate No: |  | SST/SA/R/2022E/1324
5
| 6 | [5 empty] | Second Checker: |  | Date: | UPR 1kg | Conventional Value: |  | 1000.0012 | g
| 7 | [8 empty] | Class: |  | F1
| 8 | [8 empty] | Asset No.: |  | 006-003632 (KKM/BPFK/H/01/3)
| 9 | [8 empty] | Calibration date: |  | 2022-05-28
| 10 | [8 empty] | Calibration due date: |  | 2023-05-28
|  | Mean: | #DIV/0! | [6 empty] | Certificate No: |  | SST/SA/R/2022E/1325
|  | Standard Deviation (SD): | #DIV/0!
[10 empty] | Dikemaskini: |  | 2023-01-11
Assessment Against Repeatability Requirement
| Calculate 0.41d | 0.00041
1) If SD > 0.41d, use SD value
| 2 x SD | > 0.10%
Smallest Net Weight
| Result (%) | Repeatibility tolerance | Pass/Fail
| #DIV/0! | 0.1% | #DIV/0!
1) If SD < 0.41d, use 0.41d value as the SD for the calculation
| 2 x 0.41d | < 0.10%
Smallest Net Weight
| Result (%) | Repeatibility tolerance | Pass/Fail
| 0.068333 | 0.1% | PASS
MINIMUM WEIGHT CALCULATION
By using value SD from Repeatability test
Minimum weight formula: 2000 X SD
1) If SD > 0.41d, use SD value
| SD | Minimum weight (g)
| #DIV/0! | #DIV/0!
1) If SD < 0.41d, use 0.41d value as the SD for the calculation
| SD=0.41d | Minimum weight (g)
| 0.00041 | 0.82
| Desired smallest net weight: |  | #DIV/0!
| Analyst: |  | Date:
| First Checker: |  | Date:
| Second Checker: |  | Date:

## Mettler Toledo
Must be done every 3 months |  |  |  |  | Must be done every month
Methodology Development Unit |  |  |  |  | Methodology Development Unit
REPEATABILITY TEST |  |  |  |  | SENSITIVITY CHECK |  |  |  |  | JANGAN PRINT PAGE INI
| Name of Analytical Balance : |  | Mettler Toledo (006-000056) |  | Accuracy Test |  |  |  |  | Standard Weight Info:
| Maximum Load Capacity (g) : |  | 220 |  | Balance: | Mettler Toledo (006-000056) |  |  |  | UPM 200g (DG2) | Conventional Value: |  | 200 | g
[5 empty] | Max. Load Capacity (g): | 220 |  |  |  | Class: |  | E2
| Calibration Range (g) : |  | 0.05 - 200 |  | Standard Weight (g): | 2 and 200 |  |  |  | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
[5 empty] | Class: |  |  |  |  | Calibration date: |  | 2022-11-22
| Desired smallest net weight (g) : |  | 0.16 |  | Asset No.: |  |  |  |  | Calibration due date: |  | 2023-11-22
[5 empty] | Calibration date: |  |  |  |  | Certificate No: |  | SST/SA/R/2022K/1431
| Standard/Test Weight (g) : |  | 10 |  | Calibration due date:
[5 empty] | Certificate No: |  |  |  |  | UPM 200g (DG3) | Conventional Value: |  | 200 | g
| Class of Standard Weight: | [8 empty] | Class: |  | E2
[5 empty] | Test Load (g) (maximum load capacity) | Conventional Value (g) | Display Value (g) | Deviation (g) | Tolerance (g), ≤ 0.05% | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
|  | Asset No. of Standard Weight: |  |  | 200 |  |  | 0 | 0.1 | Calibration date: |  | 2022-11-22
[10 empty] | Calibration due date: |  | 2023-11-22
|  | Readability of weighing balance (d): | 0.0001 |  | Test Load (g) (frequent capacity used) | Conventional Value (g) | Display Value (g) | Deviation (g) | Tolerance (g), ≤ 0.05% | Certificate No: |  | SST/SA/R/2022K/1431
[5 empty] | 2 |  |  | 0 | 0.001
[10 empty] | UPM 10g | Conventional Value: |  | 10 | g
| Standard Weight Calib. Date: |  |  |  | Assessment Against Accuracy Requirement |  |  |  |  | Class: |  | E2
[5 empty] | Accuracy testing meets the requirement of 0.05% |  |  | PASS |  | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| Standard Weight Calib. Due Date: | [8 empty] | Calibration date: |  | 2022-11-22
[5 empty] | Carbon Slip |  | Analyst: |  | Date: | Calibration due date: |  | 2023-11-22
| Certificate No: | [8 empty] | Certificate No: |  | SST/SA/R/2022K/1431
[10 empty] | UPM 2g (C17) | Conventional Value: |  | 2 | g
| No. | Conventional Value (g) | Display Value (g) | Carbon Slip | [5 empty] | Class: |  | E2
| 1 | [5 empty] | First Checker: |  | Date: | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| 2 | [8 empty] | Calibration date: |  | 2022-11-22
| 3 | [8 empty] | Calibration due date: |  | 2023-11-22
| 4 | [8 empty] | Certificate No: |  | SST/SA/R/2022K/1431
5
| 6 | [5 empty] | Second Checker: |  | Date: | UPM 2g (C18) | Conventional Value: |  | 2 | g
| 7 | [8 empty] | Class: |  | E2
| 8 | [8 empty] | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| 9 | [8 empty] | Calibration date: |  | 2022-11-22
| 10 | [8 empty] | Calibration due date: |  | 2023-11-22
|  | Mean: | #DIV/0! | [6 empty] | Certificate No: |  | SST/SA/R/2022K/1431
|  | Standard Deviation (SD): | #DIV/0!
[10 empty] | UPR 200g(.) | Conventional Value: |  | 200 | g
| Assessment Against Repeatability Requirement | [8 empty] | Class: |  | E2
[10 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
| Calculate 0.41d | 4.1e-05 | [7 empty] | Calibration date: |  | 2022-05-28
[10 empty] | Calibration due date: |  | 2023-05-28
1) If SD > 0.41d, use SD value | [9 empty] | Certificate No: |  | SST/SA/R/2022E/1324
| 2 x SD | > 0.10% | [7 empty] | UPR 200g | Conventional Value: |  | 199.9999 | g
| Smallest Net Weight | [8 empty] | Class: |  | E2
[10 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
| Result (%) | Repeatibility tolerance | Pass/Fail | [6 empty] | Calibration date: |  | 2022-05-28
| #DIV/0! | 0.1% | #DIV/0! | [6 empty] | Calibration due date: |  | 2023-05-28
[10 empty] | Certificate No: |  | SST/SA/R/2022E/1324
1) If SD < 0.41d, use 0.41d value as the SD for the calculation
[10 empty] | UPR 10g | Conventional Value: |  | 10 | g
| 2 x 0.41d | < 0.10% | [7 empty] | Class: |  | E2
| Smallest Net Weight | [8 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
[10 empty] | Calibration date: |  | 2022-05-28
| Result (%) | Repeatibility tolerance | Pass/Fail | [6 empty] | Calibration due date: |  | 2023-05-28
| 0.05125 | 0.1% | PASS | [6 empty] | Certificate No: |  | SST/SA/R/2022E/1324
MINIMUM WEIGHT CALCULATION | [9 empty] | UPR 2g(.) | Conventional Value: |  | 2 | g
[10 empty] | Class: |  | E2
| By using value SD from Repeatability test | [8 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
[10 empty] | Calibration date: |  | 2022-05-28
| Minimum weight formula: 2000 X SD | [8 empty] | Calibration due date: |  | 2023-05-28
[10 empty] | Certificate No: |  | SST/SA/R/2022E/1324
1) If SD > 0.41d, use SD value
[10 empty] | UPR 2g | Conventional Value: |  | 2 | g
| SD | Minimum weight (g) | [7 empty] | Class: |  | E2
| #DIV/0! | #DIV/0! | [7 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
[10 empty] | Calibration date: |  | 2022-05-28
1) If SD < 0.41d, use 0.41d value as the SD for the calculation | [9 empty] | Calibration due date: |  | 2023-05-28
[10 empty] | Certificate No: |  | SST/SA/R/2022E/1324
| SD=0.41d | Minimum weight (g)
| 4.1e-05 | 0.082 | [7 empty] | Dikemaskini: |  | 2023-01-11
| Desired smallest net weight: |  | #DIV/0!
| Analyst: |  | Date:
| First Checker: |  | Date:
| Second Checker: |  | Date:

## Sartorius
Must be done every 3 months |  |  |  |  | Must be done every month
Methodology Development Unit |  |  |  |  | Methodology Development Unit
REPEATABILITY TEST |  |  |  |  | SENSITIVITY CHECK
JANGAN PRINT PAGE INI
| Name of Analytical Balance : |  | Sartorius MSE 225S-100-DU (006-005353) |  | Accuracy Test
Standard Weight Info:
| Maximum Load Capacity (g) : |  | 220 |  | Balance: | Sartorius MSE 225S-100-DU (006-005353)
[5 empty] | Max. Load Capacity (g): | 220 |  |  |  | UPM 200g (DG2) | Conventional Value: |  | 200 | g
| Calibration Range (g) : |  | 0.02 - 200 |  | Standard Weight (g): | 2 and 200 |  |  |  | Class: |  | E2
[5 empty] | Class: |  |  |  |  | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| Desired smallest net weight (g) : |  | 0.021 |  | Asset No.: |  |  |  |  | Calibration date: |  | 2022-11-22
[5 empty] | Calibration date: |  |  |  |  | Calibration due date: |  | 2023-11-22
| Standard/Test Weight (g) : |  | 10 |  | Calibration due date: |  |  |  |  | Certificate No: |  | SST/SA/R/2022K/1431
Certificate No:
| Class of Standard Weight: | [8 empty] | UPM 200g (DG3) | Conventional Value: |  | 200 | g
[5 empty] | Test Load (g) (maximum load capacity) | Conventional Value (g) | Display Value (g) | Deviation (g) | Tolerance (g), ≤ 0.05% | Class: |  | E2
|  | Asset No. of Standard Weight: |  |  | 200 |  |  | 0 | 0.1 | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
[10 empty] | Calibration date: |  | 2022-11-22
|  | Readability of weighing balance (d): | 1e-05 |  | Test Load (g) (frequent capacity used) | Conventional Value (g) | Display Value (g) | Deviation (g) | Tolerance (g), ≤ 0.05% | Calibration due date: |  | 2023-11-22
[5 empty] | 2 |  |  | 0 | 0.001 | Certificate No: |  | SST/SA/R/2022K/1431
| Standard Weight Calib. Date: |  |  |  | Assessment Against Accuracy Requirement |  |  |  |  | UPM 10g | Conventional Value: |  | 10 | g
[5 empty] | Accuracy testing meets the requirement of 0.05% |  |  | PASS |  | Class: |  | E2
| Standard Weight Calib. Due Date: | [8 empty] | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
[5 empty] | Carbon Slip |  | Analyst: |  | Date: | Calibration date: |  | 2022-11-22
| Certificate No: | [8 empty] | Calibration due date: |  | 2023-11-22
[10 empty] | Certificate No: |  | SST/SA/R/2022K/1431
| No. | Conventional Value (g) | Display Value (g) | Carbon Slip | [5 empty] | UPM 2g (C17) | Conventional Value: |  | 2 | g
| 1 | [5 empty] | First Checker: |  | Date: | Class: |  | E2
| 2 | [8 empty] | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| 3 | [8 empty] | Calibration date: |  | 2022-11-22
| 4 | [8 empty] | Calibration due date: |  | 2023-11-22
| 5 | [8 empty] | Certificate No: |  | SST/SA/R/2022K/1431
| 6 | [5 empty] | Second Checker: |  | Date:
| 7 | [8 empty] | UPM 2g (C18) | Conventional Value: |  | 2 | g
| 8 | [8 empty] | Class: |  | E2
| 9 | [8 empty] | Asset No.: |  | 006-004872 (KKM/BPFK/H/14/52)
| 10 | [8 empty] | Calibration date: |  | 2022-11-22
|  | Mean: | #DIV/0! | [6 empty] | Calibration due date: |  | 2023-11-22
|  | Standard Deviation (SD): | #DIV/0! | [6 empty] | Certificate No: |  | SST/SA/R/2022K/1431
| Assessment Against Repeatability Requirement | [8 empty] | UPR 200g(.) | Conventional Value: |  | 200 | g
[10 empty] | Class: |  | E2
| Calculate 0.41d | 4.1e-06 | [7 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
[10 empty] | Calibration date: |  | 2022-05-28
1) If SD > 0.41d, use SD value | [9 empty] | Calibration due date: |  | 2023-05-28
[10 empty] | Certificate No: |  | SST/SA/R/2022E/1324
| 2 x SD | > 0.10%
| Smallest Net Weight | [8 empty] | UPR 200g | Conventional Value: |  | 199.9999 | g
[10 empty] | Class: |  | E2
| Result (%) | Repeatibility tolerance | Pass/Fail | [6 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
| #DIV/0! | 0.1% | #DIV/0! | [6 empty] | Calibration date: |  | 2022-05-28
[10 empty] | Calibration due date: |  | 2023-05-28
1) If SD < 0.41d, use 0.41d value as the SD for the calculation | [9 empty] | Certificate No: |  | SST/SA/R/2022E/1324
| 2 x 0.41d | < 0.10% | [7 empty] | UPR 10g | Conventional Value: |  | 10 | g
| Smallest Net Weight | [8 empty] | Class: |  | E2
[10 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
| Result (%) | Repeatibility tolerance | Pass/Fail | [6 empty] | Calibration date: |  | 2022-05-28
| 0.039048 | 0.1% | PASS | [6 empty] | Calibration due date: |  | 2023-05-28
[10 empty] | Certificate No: |  | SST/SA/R/2022E/1324
MINIMUM WEIGHT CALCULATION
[10 empty] | UPR 2g(.) | Conventional Value: |  | 2 | g
| By using value SD from Repeatability test | [8 empty] | Class: |  | E2
[10 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
| Minimum weight formula: 2000 X SD | [8 empty] | Calibration date: |  | 2022-05-28
[10 empty] | Calibration due date: |  | 2023-05-28
1) If SD > 0.41d, use SD value | [9 empty] | Certificate No: |  | SST/SA/R/2022E/1324
| SD | Minimum weight (g) | [7 empty] | UPR 2g | Conventional Value: |  | 2 | g
| #DIV/0! | #DIV/0! | [7 empty] | Class: |  | E2
[10 empty] | Asset No.: |  | 006-003631 (KKM/BPFK/H/01/3)
1) If SD < 0.41d, use 0.41d value as the SD for the calculation | [9 empty] | Calibration date: |  | 2022-05-28
[10 empty] | Calibration due date: |  | 2023-05-28
| SD=0.41d | Minimum weight (g) | [7 empty] | Certificate No: |  | SST/SA/R/2022E/1324
| 4.1e-06 | 0.0082
[10 empty] | Dikemaskini: |  | 2023-01-11
| Desired smallest net weight: |  | #DIV/0!
| Analyst: |  | Date:
| First Checker: |  | Date:
| Second Checker: |  | Date: