## FormTitan
Header
Fail Analisis | 011024
Internal Quality Control (IQC) ID: | IQC POW 250924
Reagent Blank (RB) ID: | RB POW 250924
Arsenic (As)
RB (ppb): | 0.017
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 56.969
Cadmium(Cd)
RB (ppb): | 0.027
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 20.287
Mercury (Hg)
RB (ppb): | 0.567
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 19.594
Plumbum(Pb)
RB (ppb): | 0.623
Sample weight IQC A | 0.502
Sample weight IQC B | 0.501
Blank Conc. (ppb) | 246.355
Nama dan Tarikh
Nama | IQBAL NORDIYANA MAISARAH
Tarikh | 01/10/2024

## FormGH
Header
Fail Analisis | 011024
Internal Quality Control (IQC) ID: | IQC LIQ 250924
Reagent Blank (RB) ID: | RB GH A 250924
Arsenic (As)
RB (ppb): | 0.011
Sample weight IQC A | 1.504
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 8.200
Cadmium(Cd)
RB (ppb): | 0.011
Sample weight IQC A | 1.504
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 1.482
Mercury (Hg)
RB (ppb): | 0.014
Sample weight IQC A | 1.504
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 2.098
Plumbum(Pb)
RB (ppb): | 0.498
Sample weight IQC A | 1.504
Sample weight IQC B | 1.506
Blank Conc. (ppb) | 30.004
Nama dan Tarikh
Nama | IQBAL NORDIYANA MAISARAH
Tarikh | 01/10/2024

## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 011024
Internal Quality Control (IQC) ID: |  |  | IQC POW 250924
Reagent Blank (RB) ID: |  |  | RB POW 250924
ARSENIC |  |  |  |  | RB (ppb): | 0.017 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 0.502 | 56.969 | 4304.051 | 4247.082 | 85.28% | Within Warning Limit □ |  | 3.606%
Within Control Limit □
IQC Sample B | 0.501 | 56.969 | 4460.033 | 4403.064 | 88.24% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.027 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 0.502 | 20.287 | 288.21 | 267.923 | 89.66% | Within Warning Limit □ |  | 0.9373%
Within Control Limit □
IQC Sample B | 0.501 | 20.287 | 290.733 | 270.446 | 90.33% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.567 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 0.502 | 19.594 | 472.305 | 452.711 | 90.9% | Within Warning Limit □ |  | 3.934%
Within Control Limit □
IQC Sample B | 0.501 | 19.594 | 490.472 | 470.878 | 94.36% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.623 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 0.502 | 246.355 | 9880.531 | 9634.176 | 96.73% | Within Warning Limit □ |  | 3.094%
Within Control Limit □
IQC Sample B | 0.501 | 246.355 | 10183.322 | 9936.967 | 99.57% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA MAISARAH |  |  | 01/10/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 011024
Internal Quality Control (IQC) ID: |  |  | IQC LIQ 250924
Reagent Blank (RB) ID: |  |  | RB GH A 250924
ARSENIC |  |  |  |  | RB (ppb): | 0.011 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<6%)
IQC Sample A | 1.504 | 8.200 | 4200.72 | 4192.52 | 84.07% | Within Warning Limit □ |  | 0.4818%
Within Control Limit □
IQC Sample B | 1.506 | 8.200 | 4180.57 | 4172.37 | 83.78% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): | 0.011 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<9%)
IQC Sample A | 1.504 | 1.482 | 268.597 | 267.115 | 89.28% | Within Warning Limit □ |  | 1.263%
Within Control Limit □
IQC Sample B | 1.506 | 1.482 | 271.993 | 270.511 | 90.53% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): | 0.014 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<8%)
IQC Sample A | 1.504 | 2.098 | 453.679 | 451.581 | 90.56% | Within Warning Limit □ |  | 3.437%
Within Control Limit □
IQC Sample B | 1.506 | 2.098 | 469.473 | 467.375 | 93.85% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): | 0.498 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  |  | %RPD (NMT<5%)
IQC Sample A | 1.504 | 30.004 | 9413.591 | 9383.587 | 94.09% | Within Warning Limit □ |  | 1.811%
Within Control Limit □
IQC Sample B | 1.506 | 30.004 | 9585.09 | 9555.086 | 95.93% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | IQBAL NORDIYANA MAISARAH |  |  | 01/10/2024
Tandatangan Penyemak & tarikh